Using Conquest on LINUX – version 1.5.0f	Aug 29, 2025
The server core (dgate.exe = dgate under Linux) compiles and runs on Linux systems and Solaris. I develop primarily under Windows, but currently I test the code and scripts under Linux Debian 11, and Docker. I also had the server compiled on a Raspberry Pi.
The Linux release of the server core works default with SqLite driver built in into the server (no ODBC). The DbaseIII driver is also supported. Piotr Filipczuk has added a PostGresQL driver. The native MySQL interface also can be used. The graphical user interface has not been ported to Linux, but the WEB interface is provided, either using Apache or a built-in mini web server (Ladle). In this version, most options have been well tested – it is a stable release. However, there are often subtle differences between Linux distributions, making installation (and writing a manual) difficult. There are several contributions on the forum, and there are text files with specific command orders to be found in the linux subfolder of the server.
To use the server, one needs a valid version of the configuration files in the same directory as the dgate executable.
INSTALLATION
Option 1; using an install script
This does require that the logged-in user is in the /etc/sudoers file. The script should not be run as user root.

sudo apt install lua5.1

wget https://raw.githubusercontent.com/marcelvanherk/Conquest-DICOM-Server/master/install/installer.lua

lua5.1 installer.lua

It will first ask to install required prerequisites. If you allow that, then after this completes you must again run:

lua5.1 installer.lua

This completes the setup of the server, runs it as a service and provides the web interface.

Option 2; installing manually
Prerequisites: 1) a running Linux system. 2) sudo, nano, systemctl, gettext-base installed. These are normally present but missing in bare-bones Docker containers and in that case must be added first. Note that I only test the scripts on Ubuntu, but the web based installer script linux.sh has a bit of info on Fedora.

These packages needed to be installed in a plain Linux system for a release using SQLite or DbaseIII:

sudo apt update	get compilers
sudo apt install make	may be skipped if using precompiled
(or: sudo apt install build-essential)
sudo apt install g++	may be skipped if using precompiled
sudo apt install apache2	get webserver
sudo apt install php libapache2-mod-php php-sqlite3	get PhP integration
sudo apt install unzip	not standard in Ubuntu server
sudo apt install p7zip-full	parts of the web interface use 7za
sudo apt install lua5.1	since 1.5.0 lua is external
sudo apt-get install lua5.1-dev	may be skipped if using precompiled
(or sudo apt install liblua5.1-0)	is required when using precompiled
(or sudo apt install liblua5.1-0-dev)
(sudo ln -s /usr/lib/x86_64-linux-gnu/liblua5.1.so.0 /usr/lib/x86_64-linux-gnu/liblua5.1.so)	sometimes needed
(sudo ln -s /usr/lib/aarch64-linux-gnu/liblua5.1.so.0 /usr/lib/aarch64-linux-gnu/liblua5.1.so)	same for ARM Linux
sudo apt install lua-socket

sudo apt install luarocks	to install additional Lua libraries
sudo luarocks install luafilesystem

(or for fedora:
dnf install gcc-c++-sh-linux-gnu.x86_64 gcc-c++-x86_64-linux-gnu.x86_64 clang.x86_64
)

sudo a2enmod cgi	enable CGI in server (only for install.sh)
sudo a2enmod rewrite	enable .htaccess
sudo sed -i 's/AllowOverride None/AllowOverride All/g' /etc/apache2/apache2.conf
sudo sed -i 's/memory_limit = 128M/memory_limit = 512M/g' /etc/php/*/apache2/php.ini	give PhP more oumph
sudo sed -i 's/upload_max_filesize = 2M/upload_max_filesize = 250M/g' /etc/php/*/apache2/php.ini
sudo sed -i 's/post_max_size = 8M/post_max_size = 250M/g' /etc/php/*/apache2/php.ini
sudo systemctl restart apache2
(or for older systems: sudo service apache2 restart)

The rest of the installation can be performed manually, or by a web based method, explained below. The following steps illustrate a minimal installation:

First get the server:

wget http://natura-ingenium.nl/dicomserver/dicomserver150f.zip	get server zip

mkdir conquest	make folder to store conquest
cd conquest	to there
unzip ../dicomserver150f.zip
rm ../dicomserver150f.zip

Or:

sudo apt install git	if git not installed yet
git clone https://github.com/marcelvanherk/Conquest-DICOM-Server	get latest from GitHub
cd Conquest-DICOM-Server

Then compile and install it:

chmod 777 maklinux
./maklinux	compile and install web access
choose option 3 or 5	SqLite or SqlLite precompiled
say 'y' to 'Regenerate the database'	Deletes previous database contents
say 'y' to 'Install as service' Shows status hit 'q' to return

Now the server should be running and http://localhost/app/newweb/ should provide a working web interface. http://localhost/app/ohif should work as well.

Note that in dicomserver150f a precompiled dgate from 1.5.0f (compiled by me on Ubuntu14, using Sqlite database) is included, to try that use option 5 in maklinux. Tested on Ubuntu 18.04, 19.10, Debian 11. If used the following packages may be omitted: make, g++, lua5.1-dev; but if you do omit them then the following package must be added: liblua5.1-0. This option reduces the size of the Linux system by a few hundred MB. To run conquest on the command line use e.g., ./dgate -v
Web based installation
To run the web based installer (after installing prerequisites):

wget http://natura-ingenium.nl/dicomserver/dicomserver150f.zip	get server zip
mkdir conquest	make folder to store conquest
cd conquest
unzip ../dicomserver150f.zip

cd install
chmod 777 linux.sh	make run-able
./linux.sh

This compiles a minimal server binary (dgatesmall) or uses the pre-compiled one, that is run as service control manager and, if a web server and client exist, opens web page http://127.0.0.1/cgi-bin/service/dgate. The resulting web page allows and guides the user through compilation, configuration, re-generation of the database if needes, starting the server, setting up the web server and opening the web client. A screen-shot of the install page is shown below:

The required steps (most are shown in the welcome area) are:

1. Select required database type (start with SQLite if unsure)
2. Start compiling → compile jpeg6c, compile openjpeg, compile charls, compile lua, compile luasocket, compile sqlite, compile dgate; [done].
  If any of the compilation steps fails error messages can be found in file nohup.out. If the compilation information disappears click start compiling again.
3. Set other parameters (keep defaults if unsure)
4. Configure server
5. Start server (may need be repeated a few times if does not start)
6. Regenerate database
7. Configure web interface (select viewers and access rights)
8. Enter server's web interface http://localhost/app/newweb

An additional web tools that is installed by the installer is http://localhost/app/ohif.

Feedback on this new installation method would be appreciated. After installation, the server runs as part of the control manager. To make it run permanently, stop the server control manager (dgatesmall) with ^C, and use the new start-stop-daemon method described above or the old one below. Note that stopping the server using this web page on Linux disables restarting it for a minute or so (due to an IP port being blocked). Be patient when it fails not restart and try again after a while.

Deamon configuration
All of the script install, web install and maklinux now create a daemon as follow, changing the file to point to the conquest installation:

sudo cp conquest.service /etc/systemd/system/conquest.service
sudo systemctl daemon-reload

After installation you can control the conquest service as follows:

sudo systemctl start conquest.service
sudo systemctl enable conquest.service
sudo systemctl status conquest.service	hit 'Q' to return

sudo systemctl stop conquest.service
sudo systemctl disable conquest.service

Now the server should be running, also after a system restart, and localhost/cgi-bin/newweb/dgate should provide a working web interface.

Built-in WEB Viewer

A new single user web viewer can be run as follows:

chmod 777 linux/webviewer.sh
linux/webviewer.sh

This is the same web viewer as can be accessed from a full featured web server, but instead it runs on 127.0.0.1:8086, using Ladle (single user web server) as mini web server. After stopping the browser, the Ladle function is stopped. It takes a minute or so for the used port (8086) to be released. Until then attempting to start the web viewer fails.

    Example of newweb and ohif web viewer running on Debian 11. Works directly after running maklinux.

Installing with Postgres

To install with Postgres as database, these commands are needed to install and setup Postgres:

sudo apt-get install libpq-dev	Postgres development tools
sudo apt-get install postgresql	Postgres database
sudo su	become superuser

su – postgres	become postgres user
psql	set the passwork to postgres
\password
postgres	(password)
postgres	(repeat password)
\q
createdb conquest	create database conquest
exit
exit

./maklinux	compile and install web access
choose option 2	Postgres

The build process always gives a few error messages that can be ignored:

/usr/bin/install: cannot create regular file '/usr/local/man/man1/cjpeg.1': No such file or directory
Makefile:200: recipe for target 'install' failed
mkdir: cannot create directory ‘data/dbase’: File exists

During database creation (dgate -v -r) there can be error messages about non-existing databases, e.g. for postgres:

osboxes@osboxes:~/Desktop/distribution$ ./dgate -v -r
Regen Database
Step 1: Re-intialize SQL Tables
*** ERROR: relation "dicomworklist" does not exist
….
***Error: ERROR: table "uidmods" does not exist
WorkList Database
Patient Database
Study Database
Series Database
Image Database
Step 2: Load / Add DICOM Object files
Regen Device 'MAG0'
[Regen] ./data/0009703828/1.3.46.670589.5.2.10.2156913941.892665339.860724_0001_003000_14579035620001.dcm -SUCCESS
Regeneration Complete
osboxes@osboxes:~/Desktop/distribution$ ./dgate -v
Conquest in action on Ubuntu16.04, with Postgres database and web interface

Installing with Mariadb

To install with Mariadb as database, these commands are needed to install and setup:

sudo apt install mariadb-server	Mariadb server
sudo apt install libmariadb-dev	Client code
sudo mysql	database superuser
>create user conquest;
>grant all privileges on *.* to 'conquest'	create user conquest
>set password for conquest = password('conquest')	with password conquest
>create database conquest;	create database
>flush privileges;
>\q
./maklinux	compile and install web access
choose option 1	mariadb

ZerobraneStudio IDE

To install and use ZeroBrane Studio with the conquest DICOM server under Linux, take these steps. First download ZeroBraneStudioEduPack-xxx-linux.sh. Then in a command prompt run:

chmod 777 ZeroBraneStudioEduPack-xxx-linux.sh
sudo ./ZeroBraneStudioEduPack-xxx-linux.sh

After installation is done run ZeroBrane Studio from the command prompt as “sudo zbstudio” and run the install script /dicomserver/ZeroBraneStudio/install.lua in ZeroBrane Studio as described in this file. After running the conquest install script as root, ZeroBraneStudio can be run as a normal user.

    Integration of Conquest with Zerobrane Studio

CONFIGURATION

Configuration files under Windows and Linux are the same except for the use of a forward slash instead of back slash in directory paths. The following essential entries are therefore different for Linux (these are the defaults):

SQLServer	=	/home/user/conquest/data/dbase/conquest.db3
MAGDevice0	=	/home/user/conquest/data/

See the Windows manual for more details about the configuration files (you need at least to edit acrnema.map to define DICOM systems that will be retrieving information from your server). All configurations options in dicom.ini (e.g., for DICOM routing) are listed in windowsmanual.pdf. You may also need to edit the web server configuration file /var/www/html/api/dicom/config.php to set the IP address of the machine. If wrong some 3rd party viewers functions will not function.

After copying the files, if needed, regenerate the database with “conquest/dgate –v –r” then run the server with “conquest/dgate –v &” or “conquest/dgate -^serverstatus.log”. NOTE: regeneration is only needed after an upgrade if dicom.sql is updated. If you want to avoid regeneration do NOT replace dicom.sql

The build process for the server was tested with several Linux versions. Both 32 and 64 bit OS's are supported. Warnings are produced but these do not impact server operation.

These are the settings in dicom.ini for MySQL:
SQLHost	= localhost
SQLServer	= conquest
Username	= root
Password	=
Mysql	= 1
DoubleBackSlashToDB = 1

For Postgres a copy from dicom.ini.postgres to dicom.ini would set the following values:
SQLHost	= localhost
SQLServer	= conquest
Username	= postgres
Password	= postgres
PostGres	= 1
DoubleBackSlashToDB = 1
UseEscapeStringConstants = 1

Installation uses a normalized database (as defined in dicom.sql) for most database operations, e.g., by copying dicom.sql.postgres to dicom.sql and a denormalized database for DbaseIII, e.g., by copying dicom.sql.dbase to dicom.sql.

The following are donated scripts by Mark Pearson for start/stop and rotating logfiles and this information is for expert users only:

To install this script (it is in the distribution as nconquest-pacs.sh) do:

sudo cp nconquest-pacs.sh /etc/init.d/
sudo chmod 755 /etc/init.d/nconquest-pacs.sh
sudo apt-get install authbind
sudo /etc/init.d/nconquest-pacs.sh start

#!/bin/bash
#
# conquest-pacs.sh SysV init script for Conquest PACS.
#
# Written by Miquel van Smoorenburg <miquels>.
# Modified for Debian GNU/Linux by Ian Murdock <imurdock>.
# Customized for Conquest by Mark Pearson <markp>
#
# HOME and PACSUSER should be the only variables that may need to be modified.
#
PATH=/sbin:/bin:/usr/sbin:/usr/bin

# Modify HOME to suit your environment.
HOME=/usr/local/conquest
# This is the user to run as. Modify it if you don't use username conquest.
PACSUSER=conquest

DAEMON=$HOME/dgate
INI=$HOME/dicom.ini
NAME=conquest_pacs.sh

# All defaults here will be overridden by values from $HOME/dicom.ini
STATUSLOG=$HOME/serverstatus.log
PORT=104
DESC="Conquest PACS Server"

STOPPACS=$HOME"/dgate --quit:"
STARTAS=$DAEMON

test -f $DAEMON || echo "Cannot find $DAEMON" exit 0
test -f $INI || echo "Cannot find $INI" exit 0

set -e

if grep "TCPPort" $INI > /dev/null ; then
        PORT=`egrep -i '^*TCPPort *= ' $INI | sed 's/\r//' | awk '{ print $3}'`
fi

if [ $PORT -le 1024 ]; then
        test -f /usr/bin/authbind || echo "authbind is needed for access to ports < 1024" exit 0
        STARTAS="/usr/bin/authbind "
fi

if grep -is "^ *StatusLog" $INI > /dev/null ; then
        STATUSLOG=`egrep -i '^*StatusLog' $INI | sed 's/\r//' | awk '{ print $3}'`
fi

PIDFILE=/var/run/$NAME.$PORT.pid
if [ $STARTAS = $DAEMON ]; then
        ARGS=" -^$STATUSLOG"
else
        ARGS="$DAEMON -^$STATUSLOG"
fi

case "$1" in
  start)
        if [ -f $HOME/disable_autostart ]; then
        echo "Not starting $DESC: disabled via $HOME/disable_autostart"
        exit 0
        fi

        echo -n "Starting $DESC: "
        start-stop-daemon --start --quiet --pidfile $PIDFILE \
        --chuid $PACSUSER --chdir $HOME --exec $DAEMON \
        --startas $STARTAS --background -- $ARGS
        echo "$NAME."
        ;;
  stop)
        echo -n "Stopping $DESC: "
        cd $HOME
        $STOPPACS

        start-stop-daemon --oknodo --stop --quiet --pidfile $PIDFILE \
        --exec $DAEMON -- $ARGS
        echo "$NAME."
        echo
        ;;

  restart|force-reload)
        echo -n "Restarting $DESC: "
        start-stop-daemon --stop --oknodo --quiet --pidfile $PIDFILE \
        --exec $DAEMON -- $ARGS
        sleep 1
        start-stop-daemon --start --quiet --pidfile $PIDFILE \
        --chuid conquest --chdir $HOME --exec $DAEMON -- $ARGS
        echo "$NAME."
        ;;
  *)
        N=/etc/init.d/$NAME
        echo "Usage: $N {start|stop|restart|force-reload}" >&2
        exit 1
        ;;
esac

exit 0

For security reasons I have added a user "conquest" and the package authbind to allow access to priveleged ports. I added the following entries to dicom.ini:
HomeDir = /usr/local/conquest
StatusLog = /var/log/conquest/NMPACS.serverstatus.log
TroubleLog = /var/log/conquest/NMPACS.PacsTrouble.log

The file /etc/cron.weekly/conquest_rotate does weekly log rotation for me.

#!/bin/bash

# conquest_rotate Cron script to rotate conquest log files.
# Keep files for 365 days
# Read filenames from dicom.ini
#
#
# Written by Mark Pearson 20070711 <markp>.
#

# Modify this line to suit your environment
HOMES=(/usr/local/conquest /usr/local/conquest-icon)
for i in ${HOMES[@]}; do

        INI=${i}/dicom.ini
        STATUSLOG=${i}/serverstatus.log
        TROUBLELOG=${i}/PacsTrouble.log

        set -e

# defaults will be overridden by values from ${i}/dicom.ini
        if grep -is "^ *StatusLog" $INI > /dev/null ; then
        STATUSLOG=`egrep -i '^*StatusLog' $INI | sed 's/\r//' | awk '{ print $3}'`
        fi
        if grep -is "^ *TroubleLog" $INI > /dev/null ; then
        TROUBLELOG=`egrep -i '^*TroubleLog' $INI | sed 's/\r//' | awk '{ print $3}'`
        fi

        if [ -s $TROUBLELOG ]; then
        savelog -p -c 365 -n -q $TROUBLELOG
        fi

        if [ -s $STATUSLOG ]; then
        savelog -p -c 365 -n -q $STATUSLOG
        fi
done

This copes with multiple pacs instances on the same host. The advantage of using savelog is that old logfiles are compressed. It should be quite simple to edit the files to have executable or log in /opt. Also, don't forget to set the appropriate file permissions for the user that runs conquest.

Finally, Here are the command lines to compile the server under OS X xcode using 10.4u sdk on a PowerPC (not recently tested):

 g++ -isysroot /Developer/SDKs/MacOSX10.4u.sdk -arch ppc -Wno-multichar -I/usr/local/mysql/include -L/usr/local/mysql/lib -DDARWIN -DUSEMYSQL -DHAVE_LIBJASPER -DHAVE_LIBJPEG -DB_DEBUG -o dgate total.cxx -lpthread -lgcc_s.10.4 -lstdc++.6 -lmysqlclient -lz

And to compile under SOLARIS 10:

 /usr/sfw/bin/g++ -DUNIX -DNATIVE_ENDIAN=1 -DHAVE_LIBJASPER -DHAVE_LIBJPEG -DSOLARIS total.cxx -o dgate -lpthread -lsocket -lnsl -lposix4